**DAIKIN ATKQ25TAVMV**

Model: ATKQ25TAVMV  
Color: White  
Manufacturer: Daikin  
Made in Viet Nam  
Debut year: 2019  
12-month warranty period  
  
Air-conditioner type: 1 way  
Capacity: 1 HP  
Maximum cooling speed: 9,000 BTU  
Inverter Technology: Yes  
Quick cooling: Yes  
Timer mode: Yes  
Auto restart after power on: Yes  
Desiccant ability: Yes  
Gas used: R-32  
Effective range: less than 15 m²  
Dimensions of indoor unit (RxSxC): 770 x 226 x 285  
Dimensions of outdoor unit (RxSxC): 750 x 255 x 418  
Weight of indoor unit: 8 kg  
Weight of outdoor unit: 21 kg