**DAIKIN FTKC50UVMV**

Model: FTKC50UVMV / RKC50UVMV  
Color: White  
Manufacturer: Daikin  
Origin: Thailand  
Debut year: 2019  
12-month warranty period

Air-conditioner type: 1 way  
Capacity: 2 HP  
Maximum cooling speed: 17,700 BTU  
Inverter Technology: Yes  
Quick cooling: Yes  
Deodorizing: Titanium Apatite photocatalytic air-purifying filter  
Wind mode: Control up and down automatically, left and right to manually customize  
Timer mode: Yes  
Auto restart after power on: Yes  
Desiccant ability: Yes  
Gas used: R-32  
Effective range: from 20-30m2  
Dimensions of indoor unit (RxSxC): 990 x 275 x 295  
Dimensions of outdoor unit (RxSxC): 930 x 595 x 330  
Weight of indoor unit: 9 kg  
Weight of outdoor unit: 43 kg