**DAIKIN FTKM25SVMV**

Model: FTKM25SVMV / RKM25SVMV  
Color: White  
Manufacturer: Daikin  
Origin: Thailand  
12-month warranty period  
Air-conditioner type: 1 way  
Capacity: 1 HP

Minimum cooling speed: 4,100 BTU  
Average cooling rate: 8,500 BTU  
Maximum cooling speed: 12,300 BTU  
Inverter Technology: Yes  
Quick cooling: Yes  
Deodorizing: Titanium Apatite photocatalytic air-purifying filter  
Timer mode: Yes  
Noise level of indoor unit: 42/33/26/19 dB (A)  
Outdoor unit noise level: 46/43 dB (A)  
Gas used: R-32  
Effective range: less than 15 m²  
Dimensions of indoor unit (RxSxC): 285 x 770 x 226  
Dimensions of outdoor unit (RxSxC): 595 x 845 x 300  
Volume of indoor units: 9  
Weight of outdoor unit: 32 kg